**CENTRAL POLLUTION CONTROL BOARD**

PariveshBhawan, East Arjun Nagar, Delhi 110032

**Field Data Sheet for Ambient Gaseous Sampling (SO2/NO2)**

|  |  |
| --- | --- |
| Monitoring Location: | Monitoring Date: |
| Sampler ID No.: |  |
| Shift No. | **I** | **II** | **III** |
| Monitoring Period |  |  |  |  |  |  |
| Time Totaliser Reading (Initial) |  |  |  |  |  |  |
| Time Totaliser Reading (Final) |  |  |  |  |  |  |
| Parameter | **SO2** | **NO2** | **SO2** | **NO2** | **SO2** | **NO2** | **SO2** | **NO2** | **SO2** | **NO2** | **SO2** | **NO2** |
| Hourly Flow Rate (lpm) |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |
| Average Flow Rate (lpm) |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Operation Time (min.) |  |  |  |  |  |  |  |  |  |  |  |  |
| Volume of air sampled (lit.) |  |  |  |  |  |  |  |  |  |  |  |  |
| Initial volume of sample (ml) |  |  |  |  |  |  |  |  |  |  |  |  |
| Final volume of sample (ml) |  |  |  |  |  |  |  |  |  |  |  |  |
| Absorbance (Blank) |  |  |  |  |  |  |
| Absorbance (Sample) |  |  |  |  |  |  |
| Remarks: |  |  |  |  |  |  |
| Name and Signature of Official on Duty: |  |  |  |